|  | Construction Concrete Structure Checklist |  |  |
| --- | --- | --- | --- |
| Instructions for Use: This checklist is not intended to assure that all conditions defined by the contract are met. This checklist is a tool used for each project built with Federal Aid Funds, to document minimum quality assurance activities that are performed by the LPA and/or NDOT at critical times during construction. This form should be completed by LPA RC and/or NDOT State Representative during visits 1) prior to structural concrete pour, 2) during the structural concrete pour, 3) after the structural concrete pour. As part of this review, the NDOT State Representative or LPA RC must also visit the concrete plant. The LPA RC and/or NDOT State Representative is responsible for adding a copy of the completed checklist to the project correspondence log in SiteManager. |  |  |  |
| Local Public Agency (LPA): |  | LPA Responsible Charge: |  |
| State Project No.: |  | Project Name and Location: |  |
| State Control No.: |  | Date of Review: | This Form was Completed By: |

| Item # | Task Description or Questions | Completed |  |  | If No, Define Corrective Action | Information Used to Verify Content | Additional Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |  |  |

Before Placement

Date of Site Visit:        Date of Plant Visit:

| 1. | Have the utility locations been checked for potential conflicts with existing and proposed underground utilities ? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2. | Has the field-checked order list been issued to the contractor? |  |  |  |  |  |  |
| 3. | Have flowlines of Concrete Box Culverts been observed to see that they properly match ditch or channel flowlines? |  |  |  |  |  |  |
| 4. | Has re-steel certification been checked for all material incorporated? |  |  |  |  |  |  |
| Item # | Task Description or Questions | Completed |  |  | If No, Define Corrective Action | Information Used to Verify Content | Additional Comments |
|  |  | Yes | No | N/A |  |  |  |
| 5. | Have re-steel samples been collected and sent to the NDOT Central Testing Lab? |  |  |  |  |  |  |
| 6. | Is the re-steel being stored and protected properly? |  |  |  |  |  |  |
| 7. | Has all foreign material been removed from inside the forms? |  |  |  |  |  |  |
| 8. | Was the re-steel placed correctly, correct number of bars, proper size and spacing, tied according to spec, and properly chaired prior to concrete placement? |  |  |  |  |  |  |
| 9. | Is there documentation that the epoxy coated re-steel has been checked for holidays and damage to coating after placement in the forms, and repairs completed? |  |  |  |  |  |  |
| 10. | Has inspector checked clearance of the deck steel throughout the entire length of the deck with a dry run of the finishing machine? |  |  |  |  |  |  |
| 11. | Has pre-deck pour meeting been conducted and discussion documented? |  |  |  |  |  |  |
| 12. | Is the concrete plant certified? |  |  |  |  | NDOT Materials and Research Website |  |
| 13. | Are aggregate stockpiles at the concrete plant well separated and protected from contamination? |  |  |  |  |  |  |
| Item # | Task Description or Questions | Completed |  |  | If No, Define Corrective Action | Information Used to Verify Content | Additional Comments |
|  |  | Yes | No | N/A |  |  |  |
| 14. | Are aggregate stockpiles at the concrete plant drained and kept at the appropriate moisture? |  |  |  |  |  |  |
| 15. | Do all of the trucks that will deliver concrete to the project, appear on the batch plant certification list? |  |  |  |  |  |  |

During Placement

Date of Site Visit:

| Item # | Task Description or Questions | Completed |  |  | If No, Define Corrective Action | Information Used to Verify Content | Additional Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |  |  |
| 16. | At the time of the site visit, is the inspector monitoring, checking, and documenting work? |  |  |  |  |  |  |
| 17. | Is delivered concrete well mixed and free from segregation, based on visual inspection? |  |  |  |  |  |  |
| 18. | Is concrete slump and air within specifications? |  |  |  |  |  |  |
| 19. | Are correct concrete placement procedures being followed including adequate vibration, use of tremies, continuous concrete delivery, adequate keyways, etc.? |  |  |  |  |  |  |
| 20. | Are proper techniques used to place and move concrete into its final place? |  |  |  |  |  |  |
| 21. | Is concrete mix and placement appropriate for the ambient temperature? |  |  |  |  |  |  |
| 22. | Has certification of inspectors doing concrete testing been checked? |  |  |  |  |  |  |
| 23. | Are tests being properly performed? |  |  |  |  |  |  |
| 24. | Is concrete being cured in accordance with specification? |  |  |  |  |  |  |
| 25. | Are proper vibrating techniques being used? |  |  |  |  |  |  |
| 26. | Are concrete tickets being collected by the inspector as each truck unloads at the job? |  |  |  |  |  |  |
| 27. | Is deck thickness in accordance with the plans? |  |  |  |  |  |  |
| 28. | Is deck tining performed in accordance with the Plans and Specification? |  |  |  |  |  |  |

After Placement

Date of Site Visit:

| Item # | Task Description or Questions | Completed |  |  | If No, Define Corrective Action | Information Used to Verify Content | Additional Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |  |  |
| 29. | Have voids been grouted or appropriately repaired prior to backfill? |  |  |  |  |  |  |
| 30. | Has inspector ensured and documented that concrete strengths were obtained prior to starting backfill or removing supporting forms? |  |  |  |  | Inspector Diary |  |
| 31. | Is backfill placed in 6” or less lifts, thoroughly compact each lift before placing the next lift and material is free of debris, frost logs, vegetation, rock, etc. |  |  |  |  |  |  |
| 32. |  |  |  |  |  |  |  |
| 33. |  |  |  |  |  |  |  |
| 34. |  |  |  |  |  |  |  |